## Slide 1: Automatic processes analysis at Santa Maria’s Hospital
Catarina Gaspar, Nº 75322
Francisco Oliveira, Nº 75167
Inês Lourenço, Nº 75637
Hugo Serieiro, Nº 84993
Hematology Laboratory

## Slide 2
Context
Automatic Proccesses
Sub-Process
  Inputs and Outputs
  Sensors
Petri net representation
Properties
Conclusions
Structure

## Slide 3: Recolha Laboratorio central Triagem Centrifugação
LQC cobas
Hemograma – hematologia e coagulação Tubos secos Hemoglobina Urina
Context
Notes: Vão buscar as amostras à sala de recepção de amostras do hospital Santa Maria ou os técnicos trazem dos centros de colheitas Registo de triagem de tubos. Ás vezes perdem-se tubos. Hemograma – hematologia e coagulação Tubos secos Hemoglobina Urina inicialmente tem 15min de centrigugação. ACTH consoante a cor da tampa, vai para diferentes processos. Os de tampa vermelha vão para a centrifugação e cadeia. <27min desde que pipeta até ao resultado Quimica- 12,13min

## Slide 4
Cobas Machine System

## Slide 5
Analysis period
Initial Selection
Test various types of parameters.
Cleaning sensors.
Evaluating the response of the blood sample to specific reactants.
Receive samples for testing and separate them in categories
Pre-analytical
Chain
Pos-analytical
Cobas 1
Cobas 2
Cobas - Subprocesses
Notes: O tubo primário entra dentro da cadeia.
Manda para o cobas 1 ou 2
1500 amostras/dia
O informático é que programa se quiser mudar alguma coisa.
Racks de entrada e saída
Pára uma coisa fica tudo congestionado.
Vê se tem espaço
Pré e pos têm luzes de alerta (outputs)
Durante a noite desliga das 8 ás 20h.

## Slide 6
Final processing
Saves the test tubes during 6 days
Causes for tests’ failure:
Bubbles
Empty recipients
Low samples amount
Results:
- Concentration of sodium, glucose, chloride
Pre-analytical
Chain
Pos-analytical
Cobas 1
Cobas 2
Cobas - Subprocesses
Notes: O tubo primário entra dentro da cadeia.
Manda para o cobas 1 ou 2
1500 amostras/dia
O informático é que programa se quiser mudar alguma coisa.
Racks de entrada e saída
Pára uma coisa fica tudo congestionado.
Vê se tem espaço
Pré e pos têm luzes de alerta (outputs)
Durante a noite desliga das 8 ás 20h.

## Slide 7
Pre-analytical
Chain
Pos-analytical
Cobas 1
Cobas 2
Cobas - Subprocesses
Notes: O tubo primário entra dentro da cadeia.
Manda para o cobas 1 ou 2
1500 amostras/dia
O informático é que programa se quiser mudar alguma coisa.
Racks de entrada e saída
Pára uma coisa fica tudo congestionado.
Vê se tem espaço
Pré e pos têm luzes de alerta (outputs)
Durante a noite desliga das 8 ás 20h.

## Slide 8
Input sorting
Identification
Aliquoting
Output sorting
Pre - Analytical

## Slide 9
Checks existing positions
Picks up test tubes
Puts in conveyor belt
Input Sorting

## Slide 10
Bar code reading
Volume check
Registers data
Selective cap removal
Identification and Cap removal

## Slide 12
Adds reactant to test tubes
New bar code inserted
Chain tests
Manual tests
Aliquotation

## Slide 13
Seperates tubes
  Specific tests
  Chain tests (Cobas 1 or Cobas 2)
Output Sorting

## Slide 14
Event-based
Inputs
  Start Button
  Contact sensor
  Presence sensor
  Bar code
Outputs
  LEDs
  Bar Code reader
  Conveyor belt motors
  Robotic arm motors
  New marker
Inputs / Outputs

## Slide 15
Petri Net

## Slide 16
P1
Initial position,
X=1;

## Slide 17
P1
P2
Initial position,
X=1;
T1: Start button;
1st Position of Rack X ;
Pick sample;

## Slide 18
P1
P2
Initial position,
X=1;
T1: Start button;
1st Position of Rack X ;
Pick sample;
T2: Not
contact;
T3:
Contact;
P3
P5
Next position of
Rack X;
Conveyor belt
position;

## Slide 19
P1
P2
Initial position,
X=1;
T1: Start button;
1st Position of Rack X ;
Pick sample;
T2: Not
contact;
T3:
Contact;
P3
P5
P4
T4: Not contact Ʌ
End of Rack
Next position of
Rack X;
Conveyor belt
position;
Initial position, X=X+1;
T7:
Contact;

## Slide 20
P1
P2
Initial position,
X=1;
T1: Start button;
1st Position of Rack X ;
Pick sample;
T2: Not
contact;
T3:
Contact;
P3
P5
P4
T4: Not contact Ʌ
End of Rack
Next position of
Rack X;
T5:
X
Conveyor belt
position;
Initial position, X=X+1;
T6:
X> 3;
T7:
Contact;

## Slide 21
P1
P2
Initial position,
X=1;
T1: Start button;
1st Position of Rack X ;
Pick sample;
T2: Not
contact;
T3:
Contact;
P3
P5
P4
P6
T4: Not contact Ʌ
End of Rack
Next position of
Rack X;
T5:
X
Conveyor belt
position;
Drop sample;
Initial position, X=X+1;
T6:
X> 3;
T7:
Contact;
T8: Conveyor belt
OFF;
X

## Slide 22
P1
P2
Initial position,
X=1;
T1: Start button;
1st Position of Rack X ;
Pick sample;
T2: Not
contact;
T3:
Contact;
P3
P5
P4
P6
P7
T4: Not contact Ʌ
End of Rack
Next position of
Rack X;
T5:
X
Conveyor belt
position;
Drop sample;
T9:
Not contact Ʌ
Conveyor belt sensor Ʌ
Processn = 0;
Initial position, X=X+1;
T6:
X> 3;
T7:
Contact;
T8: Conveyor belt
OFF;
Conveyor belt
moves 1 pos.
X

## Slide 23
P1
P2
Initial position,
X=1;
T1: Start button;
1st Position of Rack X ;
Pick sample;
T2: Not
contact;
T3:
Contact;
P3
P5
P4
P6
P7
T4: Not contact Ʌ
End of Rack
Next position of
Rack X;
T5:
X
Conveyor belt
position;
Drop sample;
T9:
Not contact Ʌ
Conveyor belt sensor Ʌ
Processn = 0;
Initial position, X=X+1;
T6:
X> 3;
T7:
Contact;
T8: Conveyor belt
OFF;
Conveyor belt
moves 1 pos.
X
Input Sorting

## Slide 24
P1
P2
Initial position,
X=1;
T1: Start button;
1st Position of Rack X ;
Pick sample;
T2: Not
contact;
T3:
Contact;
P3
P5
P4
P6
P7
P8
P9
T4: Not contact Ʌ
End of Rack
Next position of
Rack X;
T5:
X
Conveyor belt
position;
Drop sample;
T9:
Not contact Ʌ
Conveyor belt sensor Ʌ
Processn = 0;
Initial position, X=X+1;
T6:
X> 3;
T7:
Contact;
T8: Conveyor belt
OFF;
Conveyor belt
moves 1 pos.
T10: Presence
Sensor 1
Flag process 1=1; Bar code reader; Quality check; Flag process1=0;
T11: Presence Sensor 1 Ʌ
Processn = 0;
Conveyor belt
moves 1 pos.
X
Input Sorting

## Slide 25
P1
P2
Initial position,
X=1;
T1: Start button;
1st Position of Rack X ;
Pick sample;
T2: Not
contact;
T3:
Contact;
P3
P5
P4
P6
P7
P8
P9
T4: Not contact Ʌ
End of Rack
Next position of
Rack X;
T5:
X
Conveyor belt
position;
Drop sample;
T9:
Not contact Ʌ
Conveyor belt sensor Ʌ
Processn = 0;
Initial position, X=X+1;
T6:
X> 3;
T7:
Contact;
T8: Conveyor belt
OFF;
Conveyor belt
moves 1 pos.
T10: Presence
Sensor 1
Flag process 1=1; Bar code reader; Quality check; Flag process1=0;
T11: Presence Sensor 1 Ʌ
Processn = 0;
Conveyor belt
moves 1 pos.
X
Input Sorting
Identification

## Slide 26
P1
P2
Initial position,
X=1;
T1: Start button;
1st Position of Rack X ;
Pick sample;
T2: Not
contact;
T3:
Contact;
P3
P5
P4
P6
P7
P8
P9
P10
T4: Not contact Ʌ
End of Rack
Next position of
Rack X;
T5:
X
Conveyor belt
position;
Drop sample;
T9:
Not contact Ʌ
Conveyor belt sensor Ʌ
Processn = 0;
Initial position, X=X+1;
T6:
X> 3;
T7:
Contact;
T8: Conveyor belt
OFF;
Conveyor belt
moves 1 pos.
T10: Presence
Sensor 1
Flag process 1=1; Bar code reader; Quality check; Flag process1=0;
T11: Presence Sensor 1 Ʌ
Processn = 0;
Conveyor belt
moves 1 pos.
T12: Bar code 1;
Processn = 0;
T13: Bar code 2;
Flag process 2=1;
Remove the cover;
Flag process2=0;
T14: Processn = 0;
X
Input Sorting
Identification

## Slide 27
P1
P2
Initial position,
X=1;
T1: Start button;
1st Position of Rack X ;
Pick sample;
T2: Not
contact;
T3:
Contact;
P3
P5
P4
P6
P7
P8
P9
P10
T4: Not contact Ʌ
End of Rack
Next position of
Rack X;
T5:
X
Conveyor belt
position;
Drop sample;
T9:
Not contact Ʌ
Conveyor belt sensor Ʌ
Processn = 0;
Initial position, X=X+1;
T6:
X> 3;
T7:
Contact;
T8: Conveyor belt
OFF;
Conveyor belt
moves 1 pos.
T10: Presence
Sensor 1
Flag process 1=1; Bar code reader; Quality check; Flag process1=0;
T11: Presence Sensor 1 Ʌ
Processn = 0;
Conveyor belt
moves 1 pos.
T12: Bar code 1;
Processn = 0;
T13: Bar code 2;
Flag process 2=1;
Remove the cover;
Flag process2=0;
T14: Processn = 0;
X
Input Sorting
Identification
Decapping

## Slide 28
P1
P2
Initial position,
X=1;
T1: Start button;
1st Position of Rack X ;
Pick sample;
T2: Not
contact;
T3:
Contact;
P3
P5
P4
P6
P7
P8
P9
P10
P11
T4: Not contact Ʌ
End of Rack
Next position of
Rack X;
T5:
X
Conveyor belt
position;
Drop sample;
T9:
Not contact Ʌ
Conveyor belt sensor Ʌ
Processn = 0;
Initial position, X=X+1;
T6:
X> 3;
T7:
Contact;
T8: Conveyor belt
OFF;
Conveyor belt
moves 1 pos.
T10: Presence
Sensor 1
Flag process 1=1; Bar code reader; Quality check; Flag process1=0;
T11: Presence Sensor 1 Ʌ
Processn = 0;
Conveyor belt
moves 1 pos.
T12: Bar code 1;
Processn = 0;
T13: Bar code 2;
Flag process 2=1;
Remove the cover;
Flag process2=0;
T14: Processn = 0;
Conveyor belt
moves 1 pos.
X
Input Sorting
Identification
Decapping

## Slide 29
P1
P2
Initial position,
X=1;
T1: Start button;
1st Position of Rack X ;
Pick sample;
T2: Not
contact;
T3:
Contact;
P3
P5
P4
P6
P7
P8
P9
P10
P11
P12
P13
P14 Waiting area 2;
T4: Not contact Ʌ
End of Rack
Next position of
Rack X;
T5:
X
Conveyor belt
position;
Drop sample;
T9:
Not contact Ʌ
Conveyor belt sensor Ʌ
Processn = 0;
Initial position, X=X+1;
T6:
X> 3;
T7:
Contact;
T8: Conveyor belt
OFF;
Conveyor belt
moves 1 pos.
T10: Presence
Sensor 1
Flag process 1=1; Bar code reader; Quality check; Flag process1=0;
T11: Presence Sensor 1 Ʌ
Processn = 0;
Conveyor belt
moves 1 pos.
T12: Bar code 1;
Processn = 0;
T13: Bar code 2;
Flag process 2=1;
Remove the cover;
Flag process2=0;
T14: Processn = 0;
Conveyor belt
moves 1 pos.
Flag process 3=1; Analysis; Marking;
Flag process3=0;
T16: Circle Mark;
T17:
Rectangle
Mark;
T15: Presence
sensor 2
T18: Human
intervention
T19: Next WS
available
Waiting area;
X
Input Sorting
Identification
Decapping

## Slide 30
P1
P2
Initial position,
X=1;
T1: Start button;
1st Position of Rack X ;
Pick sample;
T2: Not
contact;
T3:
Contact;
P3
P5
P4
P6
P7
P8
P9
P10
P11
P12
P13
P14 Waiting area 2;
T4: Not contact Ʌ
End of Rack
Next position of
Rack X;
T5:
X
Conveyor belt
position;
Drop sample;
T9:
Not contact Ʌ
Conveyor belt sensor Ʌ
Processn = 0;
Initial position, X=X+1;
T6:
X> 3;
T7:
Contact;
T8: Conveyor belt
OFF;
Conveyor belt
moves 1 pos.
T10: Presence
Sensor 1
Flag process 1=1; Bar code reader; Quality check; Flag process1=0;
T11: Presence Sensor 1 Ʌ
Processn = 0;
Conveyor belt
moves 1 pos.
T12: Bar code 1;
Processn = 0;
T13: Bar code 2;
Flag process 2=1;
Remove the cover;
Flag process2=0;
T14: Processn = 0;
Conveyor belt
moves 1 pos.
Flag process 3=1; Analysis; Marking;
Flag process3=0;
T16: Circle Mark;
T17:
Rectangle
Mark;
T15: Presence
sensor 2
T18: Human
intervention
T19: Next WS
available
Waiting area;
X
Input Sorting
Identification
Decapping
Aliquoting & Output Sorting

## Slide 31
Petri Net
Input Sorting
Identification
Decapping
Aliquoting & Output Sorting

## Slide 32
-1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | -1 | -1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 1 | 0 | -1 | 0 | 0 | -1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 1 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 1 | 0 | 0 | 0 | 1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -1 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | -1 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | -1 | -1 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | -1 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | -1
D =
Petri Net – Incidence matrix

## Slide 33
Unbounded
Not Safe
Petri Net Properties – Boundeness and Safeness
Notes: Como mostramos para no estudo da Reachability, existe criação de tokens/jobs logo a nossa Petri net é unbounded

## Slide 34
All transitions: Level 4
Petri Net Properties – Liveness

## Slide 35
Petri Net Properties – Reachability

## Slide 36
Petri Net Properties – Reachability

## Slide 37
Petri Net Properties – Reachability

## Slide 38
Petri Net Properties – Reachability

## Slide 39
Petri Net Properties – Reachability

## Slide 40
Petri Net Properties – Reachability

## Slide 41
Petri Net Properties – Reachability

## Slide 42
Petri Net Properties – Reachability

## Slide 43
Petri Net Properties – Reachability

## Slide 44
Petri Net Properties – Reachability

## Slide 45
Petri Net Properties – Reachability

## Slide 46
Petri Net Properties – Reachability
Infinite Reachability Set

## Slide 47
Petri Net Properties – Coverability
Does not cover
Covers
Notes: Na nossa Petri Net podemos ter as duas situaçãoes:
Tanto temos estados que não se cobrem (exemplo);
Como temos estados que cobrem os outros (exemplo).

## Slide 48: Petri Net Properties – Conservation

## Slide 49: Petri Net Properties – Conservation
Unbounded
Not Conservative

## Slide 50: Petri Net Properties – Temporal invariance
There is at least one sequence of transitions that allows the Petri net to return to the same stage.

## Slide 51: Petri Net Properties – Temporal invariance
There is at least one sequence of transitions that allows the Petri net to return to the same stage.
T1 T2 T4 T6

## Slide 52: Conclusions
It’s really hard to differenciate the real system from the mathematical system!